## Slide 1: VSM (Vibrating Sample Magnetometer)
SQUID converts current into voltage
Precise measurement depends on better sample centering
B field
SQUID with electronics
Flux transformer
Detection coil (or) Gradiometer
Sample position
Prepare the presentation
Highly sensitive magnetic moment measure device over a range of (1.8 - 400 K) and (7 T)
Sample magnetic field cuts the winding and detects the gradient in terms of current
Flux transformer boost the flux
Works on basic principle
Of Faraday’s law
Notes: Frequency (?)

## Slide 2: Sample centering
Second-order gradiometer
Magnetic moment
SQUID output
signal
L = Scan length
n = No. of data points
Vi = Voltage reading at ith point
C = Calibration factor
(Current to voltage ratio)
Magnetic Dipole

## Slide 3: Superconducting magnet
Super conducting magnet wounded in solenoid configuration
Heater ON, Super conducting loop is open
Heater OFF, Super conducting loop is closed
Persisting current flows in the circuit
Negligible resistance at less than critical temperature leads, persisting current
Dewar can evacuated and purged with helium gas

## Slide 4: VSM: In-plane rotation
For rotation,
rotate sample clockwise
For rotation,
rotate rod anticlockwise
x
z
M
y
H
z
x
y
M
H
x
y
z
M
H
x
y
z
H
M
x
y
z
H
M
E(,)
E

## Slide 5: VSM: Out-of-plane rotation
For rotation, tilt the sample by using glass pieces
For rotation,
rotate sample
y
z
x
M
H
z
y
x
M
H
z
x
y
H
z
x
M
y
H
x
y
z
H
M
x
y
H
M
z
E(,)
E
Focus on this part

## Slide 6: VSM results