## Slide 1: Multiferroic materials and composites
E
P
H
M
E, H
P, M
Ferroelectric
Ferromagnetic
Multiferroic
and magnetoelectric
Multiferroic composites
Multiferroic materials
Multiferroic
Piezoelectric
Strain
Magnetostrictive
Terfenol-D, FeGa
PZN-PT, PMN-PT
BiFeO3
3500 Oe  6 kV/cm, PZN-PT/Terfenol-D
Liu, M. et al., J. Appl. Phys. 112, 063917 (2012)
Notes: lead zinc niobate-lead titanate (PZN-PT), lead magnesium niobate-lead titanate (PMN-PT)

## Slide 2: Multiferroic materials
P
E
H
M
Piezoelectricity
Magnetostriction
Magnetoelectricity (intrinsic)
Multiferroic materials can have intrinsic magnetoelectric coupling
  Room-temperature operation
  Not enough magnetoelectric coupling
Issues for
technological applications
Notes: Here, E H and sigma are electric field, magnetic field and stress, respectively and they can be applied externally
P M and epsilon are polarization, magnetization and strain, which are macroscopic observables
Here they can be intrinsic coupling between E and H but there are issue for technological applications

## Slide 3: Multiferroic composites
Multiferroic heterostructures
Stress-mediated
P
E
H
M
Piezoelectricity
Magnetostriction
Magnetoelectricity (intrinsic)
Enhanced magnetoelectric
coupling by strain
Piezoelectric
Strain
Magnetostrictive

## Slide 4: Magnetic thermal annealing
Lattice deformities can degrade material quality
It helps to eliminate structural imperfections
Reorientation of the easy axis in a ferromagnetic material
It reorients each spin along applied magnetic field, if the sample has deformed ferromagnetic lattice
Magnetic thermal annealing setup

## Slide 5: Electromagnet
H.C Oersted concluded that current carrying conductor produce magnetic field around it, and it obeys right hand thumb rule
Thumb directs direction of current
Four fingers directs magnetic field around it
Direction of magnetic field depends upon direction of current
Flux = No. of turns * input current

## Slide 6: Gauss meter
Gaussmeter is an static electronic magnetic fields measurement device
Hall effect is conversion of magnetic field into Hall voltage
Electrons in magnetic field tries to move in perpendicular direction of applied magnetic field (Lorentz force)