# Standard Operating Procedure for Deep Freezer

Contents

Specifications	2

Precaution	2

Procedure	2

# Specifications

- Lowest temperature: -80oC

# Precaution

- Clean the machine every 20 to 25 days

- Room temperature required for the device is 220C

# Procedure

- Place your sample inside the freezer

- Close the doors (both inside and outside one) properly

- Switch on the supply, and then switch on the main toggle button in the right-bottom side of the freezer

- Click the set button, it will show SP1, click the set button again it will show SP2

- In SP1, the temperature can be set to which the freezer will reach, use the UP ARROW or DOWN ARROW button to increase or decrease the temperature

- In SP2, the temperature can be set at which the freezer produces an alarming sound

- Press the SET button again, it will show the current temperature reading